## batteryStorage
Utility ID | Utility Name | Plant Code | Plant Name | State | County | Generator ID | Status | Technology | Prime Mover | Sector Name | Sector | Nameplate Capacity (MW) | Summer Capacity (MW) | Winter Capacity (MW) | Operating Month | Operating Year | Nameplate Energy Capacity (MWh) | Maximum Charge Rate (MW) | Maximum Discharge Rate (MW) | Storage Technology 1 | Storage Technology 2 | Storage Technology 3 | Storage Technology 4 | Nameplate Reactive Power Rating | Storage Enclosure Type | Arbitrage | Frequency Regulation | Load Following | Ramping / Spinning Reserve | Co-Located Renewable Firming | Transmission and Distribution Deferral | System Peak Shaving | Load Management | Voltage or Reactive Power Support | Backup Power | Excess Wind and Solar Generation
55983 | Luminant Generation Company LLC | 8063 | DeCordova Steam Electric Station | TX | Hood | BESS | OP | Batteries | BA | IPP Non-CHP | 2 | 269.1 | 260 | 260 | 7 | 2022 | 263 | 263 | 263 | LIB |  |  |  | 137 | CS |  | Y | Y | Y
63571 | Azure Sky Solar Project, LLC | 63905 | Azure Sky Solar | TX | Haskell | ASKYB | OP | Batteries | BA | IPP Non-CHP | 2 | 77.6 | 77.6 | 77.6 | 6 | 2022 | 77.6 | 77.6 | 77.6 | LIB |  |  |  | 44.7 | CS |  | Y | N | [7 empty] | Y
63883 | Broad Reach Power | 64316 | Lopeno | TX | Zapata | LOPE | OP | Batteries | BA | IPP Non-CHP | 2 | 9.9 | 9.9 | 9.9 | 3 | 2022 | 9.9 | 9.9 | 9.9 | LIB |  |  |  | 11 | CS | Y | Y |  | Y
63883 | Broad Reach Power | 64318 | Pueblo BA | TX | Maverick | PBL1 | OP | Batteries | BA | IPP Non-CHP | 2 | 9.9 | 9.9 | 9.9 | 3 | 2022 | 9.9 | 9.9 | 9.9 | LIB |  |  |  | 11 | CS | Y | Y |  | Y
63883 | Broad Reach Power | 64318 | Pueblo BA | TX | Maverick | PBL2 | OP | Batteries | BA | IPP Non-CHP | 2 | 9.9 | 9.9 | 9.9 | 3 | 2022 | 9.9 | 9.9 | 9.9 | LIB |  |  |  | 11 | CS | Y | Y |  | Y
63883 | Broad Reach Power | 64322 | Zapata | TX | Zapata | ZPT1 | OP | Batteries | BA | IPP Non-CHP | 2 | 9.9 | 9.9 | 9.9 | 3 | 2022 | 9.9 | 9.9 | 9.9 | LIB |  |  |  | 11 | CS | Y | Y |  | Y
63883 | Broad Reach Power | 64322 | Zapata | TX | Zapata | ZPT2 | OP | Batteries | BA | IPP Non-CHP | 2 | 9.9 | 9.9 | 9.9 | 3 | 2022 | 9.9 | 9.9 | 9.9 | LIB |  |  |  | 11 | CS | Y | Y |  | Y
64564 | Byrd Ranch Storage LLC | 65259 | Byrd Ranch Storage | TX | Brazoria | P1 | OP | Batteries | BA | IPP Non-CHP | 2 | 50 | 50 | 50 | 11 | 2022 | 50 | 50 | 50 | LIB |  |  |  | 16.4 | CS | Y | [7 empty] | Y
64568 | BT Noble Solar, LLC | 65271 | Noble Solar | TX | Denton | NBSTG | OP | Batteries | BA | IPP Non-CHP | 2 | 125 | 125 | 125 | 10 | 2022 | 125 | 125 | 125 | LIB |  |  |  | 41.2 | CS | Y | Y |  | Y |  |  |  |  | Y |  | Y
63289 | Key Capture Energy | 65694 | TX11 Republic Road Storage | TX | Robertson | TX11 | OP | Batteries | BA | IPP Non-CHP | 2 | 50 | 50 | 50 | 10 | 2022 | 50 | 50 | 50 | LIB |  |  |  | 50 | CS | Y | Y |  | Y |  |  |  | Y |  | Y
63289 | Key Capture Energy | 65695 | TX12 Silicon Hill Storage | TX | Travis | TX12 | OP | Batteries | BA | IPP Non-CHP | 2 | 100 | 100 | 100 | 10 | 2022 | 100 | 100 | 100 | LIB |  |  |  | 100 | CS | Y | Y |  | Y |  |  |  | Y |  | Y
63289 | Key Capture Energy | 65696 | TX13 Endurance Park Storage | TX | Scurry | TX13 | OP | Batteries | BA | IPP Non-CHP | 2 | 50 | 50 | 50 | 12 | 2022 | 50 | 50 | 50 | LIB |  |  |  | 50 | CS | Y | Y |  | Y |  |  |  | Y |  | Y
63289 | Key Capture Energy | 65701 | TX23 Roughneck Storage | TX | Brazoria | TX23 | OP | Batteries | BA | IPP Non-CHP | 2 | 50 | 50 | 50 | 12 | 2022 | 50 | 50 | 50 | LIB |  |  |  | 50 | CS | Y | Y |  | Y |  |  |  | Y |  | Y
65076 | HEN Infrastructure, L.L.C. | 65809 | Caterina | TX | Dimmit | CATER | OP | Batteries | BA | IPP Non-CHP | 2 | 9.9 | 9.9 | 9.9 | 8 | 2022 | 9.9 | 9.9 | 9.9 | LIB |  |  |  | 9.9 | CS | Y | Y
65076 | HEN Infrastructure, L.L.C. | 65810 | Cedarville (TX) | TX | Reeves | CDRVL | OP | Batteries | BA | IPP Non-CHP | 2 | 9.9 | 9.9 | 9.9 | 6 | 2022 | 9.9 | 9.9 | 9.9 | LIB |  |  |  | 9.9 | CS | Y | Y |  | N
65076 | HEN Infrastructure, L.L.C. | 65811 | Coyote Springs (TX) | TX | Reeves | CYTSP | OP | Batteries | BA | IPP Non-CHP | 2 | 9.9 | 9.9 | 9.9 | 6 | 2022 | 9.9 | 9.9 | 9.9 | LIB |  |  |  | 9.9 | CS | Y | Y
65076 | HEN Infrastructure, L.L.C. | 65813 | Faulkner | TX | Reeves | FAULK | OP | Batteries | BA | IPP Non-CHP | 2 | 9.9 | 9.9 | 9.9 | 4 | 2022 | 9.9 | 9.9 | 9.9 | LIB |  |  |  | 9.9 | CS | Y | Y
65076 | HEN Infrastructure, L.L.C. | 65831 | Lonestar | TX | Ward | LNSTR | OP | Batteries | BA | IPP Non-CHP | 2 | 9.9 | 9.9 | 9.9 | 8 | 2022 | 9.9 | 9.9 | 9.9 | LIB |  |  |  | 9.9 | CS | Y | Y
65076 | HEN Infrastructure, L.L.C. | 65833 | Rattlesnake (TX) | TX | Ward | RTLSK | OP | Batteries | BA | IPP Non-CHP | 2 | 9.9 | 9.9 | 9.9 | 6 | 2022 | 9.9 | 9.9 | 9.9 | LIB |  |  |  | 9.9 | CS | Y | Y
65076 | HEN Infrastructure, L.L.C. | 65834 | Saddleback | TX | Reeves | SDLBK | OP | Batteries | BA | IPP Non-CHP | 2 | 9.9 | 9.9 | 9.9 | 4 | 2022 | 9.9 | 9.9 | 9.9 | LIB |  |  |  | 9.9 | CS | Y | Y
65182 | Flower Valley II | 66007 | Flower Valley II | TX | Reeves | BA | OP | Batteries | BA | IPP Non-CHP | 2 | 101 | 101 | 101 | 4 | 2022 | 200 | 100 | 100 | LIB |  |  |  | 43.4 | CS | Y | Y |  | Y |  |  |  |  | Y
65183 | Swoose II | 66008 | Swoose II | TX | Ward | BA | OP | Batteries | BA | IPP Non-CHP | 2 | 101 | 101 | 101 | 8 | 2022 | 200 | 100 | 100 | LIB |  |  |  | 43.4 | CS | Y | Y |  | Y |  |  |  |  | Y
65184 | Crossett Power Management LLC | 66009 | Crossett Power Management LLC | TX | Crane | BA | OP | Batteries | BA | IPP Non-CHP | 2 | 203 | 203 | 203 | 6 | 2022 | 400 | 200 | 200 | LIB |  |  |  | 67.4 | CS | Y | Y |  | Y |  |  |  |  | Y

## solar
Utility ID | Utility Name | Plant Code | Plant Name | State | County | Generator ID | Status | Technology | Prime Mover | Sector Name | Sector | Nameplate Capacity (MW) | Summer Capacity (MW) | Winter Capacity (MW) | Operating Month | Operating Year | Lenses / Mirrors? | Single-Axis Tracking? | Dual-Axis Tracking? | Fixed Tilt? | East West Fixed Tilt? | Parabolic Trough? | Linear Fresnel? | Power Tower? | Dish Engine? | Other Solar Technology? | Azimuth Angle | Tilt Angle | DC Net Capacity (MW) | Crystalline Silicon? | Thin-Film (CdTe)? | Thin-Film (A-Si)? | Thin-Film (CIGS)? | Thin-Film (Other)? | Other Materials? | Net Metering Agreement? | Net Metering DC Capacity (MW) | Virtual Net Metering Agreement? | Virtual Net Metering DC Capacity (MW)
62794 | AP Solar 2, LLC | 62945 | Fighting Jays Solar Project | TX | Fort Bend | FJSOL | OP | Solar Photovoltaic | PV | IPP Non-CHP | 2 | 227.5 | 227.5 | 227.5 | 6 | 2022 |  | Y | [8 empty] | 0 | 0 | 227.5 | Y | [5 empty] | N |  | N
49893 | Invenergy Services LLC | 63211 | Samson Solar Energy | TX | Franklin | GEN1 | OP | Solar Photovoltaic | PV | IPP Non-CHP | 2 | 250 | 250 | 250 | 5 | 2022 |  |  |  | Y | [6 empty] | 0 | 60 | 250 | Y | [5 empty] | N |  | N
55983 | Luminant Generation Company LLC | 63223 | Brightside | TX | Bee | UNIT1 | OP | Solar Photovoltaic | PV | IPP Non-CHP | 2 | 50.7 | 50.7 | 50.7 | 5 | 2022 |  | Y | [8 empty] | 180 | 52 | 65 | Y | [5 empty] | N |  | N
49893 | Invenergy Services LLC | 63883 | Samson Solar Energy III LLC | TX | Lamar | GEN1 | OP | Solar Photovoltaic | PV | IPP Non-CHP | 2 | 250 | 250 | 250 | 11 | 2022 |  |  |  | Y | [6 empty] | 0 | 60 | 250 | Y | [5 empty] | N |  | N
64108 | Brazoria West Solar Project, LLC | 64447 | Brazoria West | TX | Brazoria | GEN1 | OP | Solar Photovoltaic | PV | IPP Non-CHP | 2 | 200 | 200 | 200 | 9 | 2022 |  | Y | [8 empty] | 180 | 0 | 260 | Y | [5 empty] | N |  | N
64568 | BT Noble Solar, LLC | 65271 | Noble Solar | TX | Denton | NBSLR | OP | Solar Photovoltaic | PV | IPP Non-CHP | 2 | 275 | 275 | 275 | 9 | 2022 |  | Y | [8 empty] | 180 | 30 | 353.5 | Y | [5 empty] | N |  | N
64608 | Sun Valley Solar LLC | 65303 | Sun Valley Solar Project | TX | Hill | SUNS | OP | Solar Photovoltaic | PV | IPP Non-CHP | 2 | 250 | 250 | 250 | 12 | 2022 |  | Y | [8 empty] | 180 | 52 | 347.8 | Y | [5 empty] | N |  | N
61060 | Cypress Creek Renewables | 65333 | Shakes Solar | TX | Dimmit | 785 | OP | Solar Photovoltaic | PV | IPP Non-CHP | 2 | 200 | 200 | 200 | 6 | 2022 |  | Y | [10 empty] | 270.1 |  | Y |  |  |  |  | N |  | N
64802 | Longbow Solar, LLC | 65521 | Longbow Solar, LLC | TX | Brazoria | LBSOL | OP | Solar Photovoltaic | PV | IPP Non-CHP | 2 | 78.1 | 78.1 | 78.1 | 7 | 2022 |  | Y | [8 empty] | 180 |  | 112 | Y | [5 empty] | N |  | N
64808 | Verizon Communications | 65571 | Verizon Hidden Ridge Solar Project | TX | Dallas | VH600 | OP | Solar Photovoltaic | PV | IPP Non-CHP | 2 | 1 | 0.9 | 0.6 | 9 | 2022 |  |  |  | Y | [6 empty] | 175 | 10 | 1.1 | Y | [5 empty] | Y | 1.1 | N
64808 | Verizon Communications | 65571 | Verizon Hidden Ridge Solar Project | TX | Dallas | VH700 | OP | Solar Photovoltaic | PV | IPP Non-CHP | 2 | 1.1 | 1 | 0.7 | 9 | 2022 |  |  |  | Y | [6 empty] | 39 | 10 | 1.3 | Y | [5 empty] | Y | 1.3 | N
64808 | Verizon Communications | 65571 | Verizon Hidden Ridge Solar Project | TX | Dallas | VH750 | OP | Solar Photovoltaic | PV | IPP Non-CHP | 2 | 0.8 | 0.8 | 0.6 | 7 | 2022 |  |  |  | Y | [6 empty] | 217 | 1 | 1 | Y | [5 empty] | Y | 1 | N
65411 | Duke Energy Renewables Services | 65631 | Pisgah Ridge Solar, LLC | TX | Navarro | PSGAH | OP | Solar Photovoltaic | PV | IPP Non-CHP | 2 | 250 | 250 | 250 | 12 | 2022 |  | Y | [8 empty] | 25 |  | 321 | Y | [5 empty] | N |  | N
64917 | Rayos del Sol Solar Project, LLC | 65661 | Nebula Solar | TX | Cameron | NEB1 | OP | Solar Photovoltaic | PV | IPP Non-CHP | 2 | 135 | 135 | 135 | 6 | 2022 |  | Y | [8 empty] | 0 | 60 | 181.5 | Y | [5 empty] | Y | 181.5 | N
64917 | Rayos del Sol Solar Project, LLC | 65662 | Vancourt Solar Interconnections | TX | Cameron | VAN1 | OP | Solar Photovoltaic | PV | IPP Non-CHP | 2 | 45 | 45 | 45 | 9 | 2022 |  | Y | [8 empty] | 0 | 60 | 59.5 | Y | [5 empty] | Y | 59.5 | N
65117 | Hecate Energy Upshur Rural LLC | 65946 | Hecate Energy Upshur Rural LLC | TX | Upshur | SOLAR | OP | Solar Photovoltaic | PV | IPP Non-CHP | 2 | 3 | 3 | 3 | 7 | 2022 |  | Y | [8 empty] | 0 | 33 | 3.5 | Y | [5 empty] | N |  | N
65221 | Brazoria County Solar Project | 66046 | Brazoria County Solar Project (Danciger) | TX | Brazoria | BRZ01 | OP | Solar Photovoltaic | PV | IPP Non-CHP | 2 | 200 | 200 | 200 | 7 | 2022 |  | Y | [8 empty] | 0 |  | 262.5 |  | Y |  |  |  |  | N |  | N
65370 | Cutlass Solar 1, LLC | 66310 | Cutlass Solar 1 LLC | TX | Fort Bend | CT1PV | OP | Solar Photovoltaic | PV | IPP Non-CHP | 2 | 110.9 | 110.9 | 110.9 | 12 | 2022 | Y | [11 empty] | 140 | Y | [5 empty] | N |  | N

## wind
Utility ID | Utility Name | Plant Code | Plant Name | State | County | Generator ID | Status | Technology | Prime Mover | Sector Name | Sector | Nameplate Capacity (MW) | Summer Capacity (MW) | Winter Capacity (MW) | Operating Month | Operating Year | Number of Turbines | Predominant Turbine Manufacturer | Predominant Turbine Model Number | Design Wind Speed (mph) | Wind Quality Class | Turbine Hub Height (Feet)
56215 | RWE Renewables Americas, LLC | 62416 | Cranell Wind Farm LLC | TX | Refugio | WT1 | OP | Onshore Wind Turbine | WT | IPP Non-CHP | 2 | 220 | 220 | 220 | 1 | 2022 | 100 | Vestas | V120-2.2 | 14.5 | 2 | 301.8
59050 | Algonquin Power Co | 62853 | Maverick Creek Wind | TX | Concho | MVRCK | OP | Onshore Wind Turbine | WT | IPP Non-CHP | 2 | 491.6 | 491.6 | 491.6 | 3 | 2022 | 127 | Vestas | V150-4.2 | 16.7 | 3 | 344.5
63437 | Helena Wind, LLC | 63738 | Helena Wind | TX | Bee | HEL | OP | Onshore Wind Turbine | WT | IPP Non-CHP | 2 | 268.2 | 268.2 | 268.2 | 6 | 2022 | 180 | Vestas | V150-4.2 | 16 | 3 | 344.4
63773 | Orsted Onshore North America | 64149 | Western Trail Wind, LLC | TX | Wilbarger | WTW | OP | Onshore Wind Turbine | WT | IPP Non-CHP | 2 | 366.6 | 366.6 | 366.6 | 4 | 2022 | 130 | GE | 2.82-127 | 10 | 4 | 90
56201 | Engie North America | 64165 | Priddy Wind Project | TX | Mills | WTG1 | OP | Onshore Wind Turbine | WT | IPP Non-CHP | 2 | 302.4 | 302.4 | 302.4 | 1 | 2022 | 63 | Nordex | N149/4.0-4.5 | 18.6 | 2 | 489
64209 | El Algodon Alto Wind Farm, LLC | 64591 | El Algodon Alto Wind Farm, LLC | TX | San Patricio | EEA | OP | Onshore Wind Turbine | WT | IPP Non-CHP | 2 | 200.2 | 194 | 194 | 5 | 2022 | 91 | Vestas | V120-2.2 | 16.3 | 2 | 301.8
64251 | TG East Wind Project LLC | 64639 | TG East | TX | Knox | ESCA | OP | Onshore Wind Turbine | WT | IPP Non-CHP | 2 | 336 | 336 | 336 | 4 | 2022 | 65 | Vestas | V162-5.6 | 18 | 2 | 119
64976 | Great Prairie Wind LLC | 64665 | Great Prairie Wind | TX | Hansford | GR01 | OP | Onshore Wind Turbine | WT | IPP Non-CHP | 2 | 1027 | 1027 | 1027 | 11 | 2022 | 365 | GE | 2.82-127 | 19.8 | 2 | 292
64533 | Lacy Creek Wind, LLC | 65162 | Lacy Creek Wind Energy Center | TX | Sterling | LCW1 | OP | Onshore Wind Turbine | WT | IPP Non-CHP | 2 | 301.3 | 301.3 | 301.3 | 12 | 2022 | 108 | GE | 2.82-127 | 12 | 2 | 374
64611 | Limestone Wind Project, LLC | 65306 | Limestone Wind Project | TX | Navarro | LIMEW | OP | Onshore Wind Turbine | WT | IPP Non-CHP | 2 | 299.2 | 299.2 | 299.2 | 12 | 2022 | 88 | GE | 3.8-137 | 16.8 | 3 | 384
64655 | Appaloosa Run Wind, LLC | 65335 | Appaloosa Run Wind | TX | Upton | WAPPA | OP | Onshore Wind Turbine | WT | IPP Non-CHP | 2 | 171.8 | 171.8 | 171.8 | 12 | 2022 | 62 | GE | 2.82-127 | 12 | 3 | 291
65013 | Young Wind, LLC | 65763 | Young Wind | TX | Young | WYOUN | OP | Onshore Wind Turbine | WT | IPP Non-CHP | 2 | 500 | 500 | 500 | 12 | 2022 | 177 | GE | 2.82-127 | 12 | 2 | 374
65408 | King Creek Wind Farm 1, LLC | 66321 | King Creek Wind Farm 1, LLC | TX | Haskell | KC1 | OP | Onshore Wind Turbine | WT | IPP Non-CHP | 2 | 184 | 184 | 184 | 4 | 2022 | 47 | Siemens Gamesa | SG 5.0-145 | 18.3 | 2 | 102.5
65409 | King Creek Wind Farm 2, LLC | 66323 | King Creek Wind Farm 2, LLC | TX | Haskell | KC2 | OP | Onshore Wind Turbine | WT | IPP Non-CHP | 2 | 209 | 209 | 209 | 4 | 2022 | 49 | Siemens Gamesa | SG 5.0-145 | 18.8 | 2 | 102.5